## sheet 1
instrument | Conventions | source | instrument_manufacturer | instrument_model | instrument_serial_number | instrument_software | instrument_software_version | creator_name | creator_email | creator_url | institution | processing_software_url | processing_software_version | calibration_sensitivity | calibration_certification_date | calibration_certification_url | sampling_interval | averaging_interval | product_version | processing_level | last_revised_date | project | project_principal_investigator | project_principal_investigator_email | project_principal_investigator_url | licence | acknowledgement | platform | platform_type | deployment_mode | title | featureType | time_coverage_start | time_coverage_end | geospatial_bounds | platform_altitude | location_keywords | amf_vocabularies_release | history | comment
ncas-ceilometer-2 | CF-1.6, NCAS-AMF-1.0 | NCAS Lidar Ceilometer unit 2 | Vaisala | CT25k | 12345 | Generic | v1.8 | G.Forster | g.forster@uea.nc.uk | https://orcid.org/0000-0003-1783-9307 | National Centre for Atmospheric Science (NCAS) |  | v4 | not known | not applicable | not applicable | 30 s | 30 s | v1.0 | 1 |  | WAO & NCAS Long Term Measurement Program. | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | https://orcid.org/0000-0003-1783-9307 | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence | Acknowledgement of NCAS as the data provider is required whenever and wherever these data are used | wao | stationary_platform | land | Time series of attenuated aerosol backscatter coefficient. | timeSeriesProfile |  |  | 52.9506N 1.1219E | 10m | weybourne | https://github.com/ncasuk/AMF_CVs/releases/tag/0.5.0 | test data from Decmeber 10 2017. Used as part of NCAS data project | Nothing at this time
ncas-co2-1 | CF-1.6, NCAS-AMF-1.0 | NCAS Seimens Oxilla CO2 Gas Monitor unit 1 | Siemens | Sable Systems Oxzilla II | 12345 | Generic | v1.8 | G.Forster | g.forster@uea.nc.uk | https://orcid.org/0000-0003-1783-9307 | National Centre for Atmospheric Science (NCAS) |  | v4 | not known | not applicable | not applicable | 2 minutes | 0 - spot measurement | v1.0 | 1 |  | WAO & NCAS Long Term Measurement Program. | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | https://orcid.org/0000-0003-1783-9307 | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence | Acknowledgement of NCAS as the data provider is required whenever and wherever these data are used | wao | stationary_platform | land | Time series of CO2 concentration | timeSeries |  |  | 52.9506N 1.1219E | 10m | weybourne | https://github.com/ncasuk/AMF_CVs/releases/tag/0.5.0 | Data originally taken 06/2018. Processed and used as part of NCAS data project 10/2018 | Nothing at this time
ncas-ftir-1 | CF-1.6, NCAS-AMF-1.0 | NCAS FTIR CH4 N2O CO Monitor unit 1 | Ecotech | Spectronus | 14-1121 | Generic | v1.8 | G.Forster | g.forster@uea.nc.uk | https://orcid.org/0000-0003-1783-9307 | National Centre for Atmospheric Science (NCAS) |  | v4 | not known | Calibration standards supplied by ICOS and traceable to WMO primary reference scales. WMO CO2 X2007; WMO CH4 X2004A; WMO N2O X2006A; WMO CO X2014A. | not applicable | 1 minute | 1 minute | v2.0 | 1 |  | WAO & NCAS Long Term Measurement Program. | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | https://orcid.org/0000-0003-1783-9307 | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence | Acknowledgement of NCAS as the data provider is required whenever and wherever these data are used | wao | stationary_platform | land | Time series of CH4, N2O, CO and CO2 concentration | timeSeries |  |  | 52.9506N 1.1219E | 10m | weybourne | https://github.com/ncasuk/AMF_CVs/releases/tag/0.5.0 | v2 using updated code to covert to netcdf which updates the flagging procedure. Now when a flag =2 the data will not be masked and will be written in to the file. Also added the correct instrument serial number. | Flags. 1: Data is good. >1: Please contact data originator before use.
ncas-ghg-gc-ecd-1 | CF-1.6, NCAS-AMF-1.0 | NCAS Gas Chromatograph with Electron Capture Detector unit 1 | Perkin Elmer | Clarus 500 Gas Chromatograph | 12345 | Generic | v1.8 | G.Forster | g.forster@uea.nc.uk | https://orcid.org/0000-0003-1783-9307 | National Centre for Atmospheric Science (NCAS) |  | v4 | not known | not applicable | not applicable | 1 minute | 0 - spot measurement | v1.0 | 1 |  | WAO & NCAS Long Term Measurement Program. | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | https://orcid.org/0000-0003-1783-9307 | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence | Acknowledgement of NCAS as the data provider is required whenever and wherever these data are used | wao | stationary_platform | land | Time series of N2O and SF6 concentrations | timeSeries |  |  | 52.9506N 1.1219E | 10m | weybourne | https://github.com/ncasuk/AMF_CVs/releases/tag/0.5.0 | Data originally taken 03/2017. Processed and used as part of NCAS data project 10/2018 | Nothing at this time
ncas-ghg-gc-fid-1 | CF-1.6, NCAS-AMF-1.0 | NCAS Gas Chromatograph with Flame Ionisation Detector unit 1 | Perkin Elmer | Clarus 500 Gas Chromatograph | 12345 | Generic | v1.8 | G.Forster | g.forster@uea.nc.uk | https://orcid.org/0000-0003-1783-9307 | National Centre for Atmospheric Science (NCAS) |  | v4 | not known | not applicable | not applicable | 22 minutes | 0 - spot measurement | v1.0 | 1 |  | WAO & NCAS Long Term Measurement Program. | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | https://orcid.org/0000-0003-1783-9307 | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence | Acknowledgement of NCAS as the data provider is required whenever and wherever these data are used | wao | stationary_platform | land | Time series of CH4 concentration | timeSeries |  |  | 52.9506N 1.1219E | 10m | weybourne | https://github.com/ncasuk/AMF_CVs/releases/tag/0.5.0 | Data originally taken 11/2017. Processed and used as part of NCAS data project 10/2018 | Nothing at this time
ncas-o2-1 | CF-1.6, NCAS-AMF-1.0 | NCAS Seimens Oxilla O2 Gas Monitor unit 1 | Sable | Oxzilla II | 12345 | Generic | v1.8 | G.Forster | g.forster@uea.nc.uk | https://orcid.org/0000-0003-1783-9307 | National Centre for Atmospheric Science (NCAS) |  | v4 | not known | not applicable | not applicable | 2 minutes | 0 - spot measurement | v1.0 | 1 |  | WAO & NCAS Long Term Measurement Program. | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | https://orcid.org/0000-0003-1783-9307 | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence | Acknowledgement of NCAS as the data provider is required whenever and wherever these data are used | wao | stationary_platform | land | Time series of O2/N2 concentration ratio | timeSeries |  |  | 52.9506N 1.1219E | 10m | weybourne | https://github.com/ncasuk/AMF_CVs/releases/tag/0.5.0 | Data originally taken 06/2018. Processed and used as part of NCAS data project 10/2018 | Nothing at this time
ncas-rga3-1 | CF-1.6, NCAS-AMF-1.0 | NCAS Reduction Gas Analyser unit 1 | Trace Analytical | RGA3 | 12345 | Generic | v1.8 | G.Forster | g.forster@uea.nc.uk | https://orcid.org/0000-0003-1783-9307 | National Centre for Atmospheric Science (NCAS) |  | v4 | not known | not applicable | not applicable | 5 minutes | 0 - spot measurement | v1.0 | 1 |  | WAO & NCAS Long Term Measurement Program. | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | https://orcid.org/0000-0003-1783-9307 | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence | Acknowledgement of NCAS as the data provider is required whenever and wherever these data are used | wao | stationary_platform | land | Time series of CO and H2 concentrations | timeSeries |  |  | 52.9506N 1.1219E | 10m | weybourne | https://github.com/ncasuk/AMF_CVs/releases/tag/0.5.0 | Data originally taken 12/2017. Processed and used as part of NCAS data project 10/2018 | Nothing at this time
uea-42i-nox-1 | CF-1.6, NCAS-AMF-1.0 | UEA Thermo 42i NOX Monitor unit 1 | ThermoScientific | 42i | 12345 | Generic | v1.8 | G.Forster | g.forster@uea.nc.uk | https://orcid.org/0000-0003-1783-9307 | National Centre for Atmospheric Science (NCAS) |  | v4 | not known | not applicable | not applicable | 1 minute | 0 - spot measurement | v1.0 | 1 |  | WAO & NCAS Long Term Measurement Program. | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | https://orcid.org/0000-0003-1783-9307 | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence | Acknowledgement of UEA as the data provider is required whenever and wherever these data are used | wao | stationary_platform | land | Time series of NO, NO2, and NOx concentration | timeSeries |  |  | 52.9506N 1.1219E | 10m | weybourne | https://github.com/ncasuk/AMF_CVs/releases/tag/0.5.0 | Data originally taken 08/2018. Processed and used as part of NCAS data project 10/2018 | Nothing at this time
uea-43i-so2-1 | CF-1.6, NCAS-AMF-1.0 | UEA Thermo 43i SO2 Monitor unit 1 | ThermoScientific | 43i | 12345 | Generic | v1.8 | G.Forster | g.forster@uea.nc.uk | https://orcid.org/0000-0003-1783-9307 | National Centre for Atmospheric Science (NCAS) |  | v4 | not known | not applicable | not applicable | 1 minute | 0 - spot measurement | v1.0 | 1 |  | WAO & NCAS Long Term Measurement Program. | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | https://orcid.org/0000-0003-1783-9307 | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence | Acknowledgement of UEA as the data provider is required whenever and wherever these data are used | wao | stationary_platform | land | Time series of SO2 concentration | timeSeries |  |  | 52.9506N 1.1219E | 10m | weybourne | https://github.com/ncasuk/AMF_CVs/releases/tag/0.5.0 | Data originally taken 08/2018. Processed and used as part of NCAS data project 10/2018 | Nothing at this time
uea-49i-o3-1 | CF-1.6, NCAS-AMF-1.0 | UEA Thermo 49i O3 Monitor unit 1 | ThermoScientific | 49i | 12345 | Generic | v1.8 | G.Forster | g.forster@uea.nc.uk | https://orcid.org/0000-0003-1783-9307 | National Centre for Atmospheric Science (NCAS) |  | v4 | not known | not applicable | not applicable | 1 minute | 0 - spot measurement | v1.0 | 1 |  | WAO & NCAS Long Term Measurement Program. | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | https://orcid.org/0000-0003-1783-9307 | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence | Acknowledgement of UEA as the data provider is required whenever and wherever these data are used | wao | stationary_platform | land | Time series of O3 concentration | timeSeries |  |  | 52.9506N 1.1219E | 10m | weybourne | https://github.com/ncasuk/AMF_CVs/releases/tag/0.5.0 | Data originally taken 08/2018. Processed and used as part of NCAS data project 10/2018 | Nothing at this time
uea-aws-1 | CF-1.6, NCAS-AMF-1.0 | UEA Automatic Weather Station unit 1 | Campbell Scientific | not known | 12345 | Generic | v1.8 | G.Forster | g.forster@uea.nc.uk | https://orcid.org/0000-0003-1783-9307 | National Centre for Atmospheric Science (NCAS) |  | v4 | not known | not applicable | not applicable | 1 minute | 1 minute | v1.0 | 1 |  | WAO & NCAS Long Term Measurement Program. | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | https://orcid.org/0000-0003-1783-9307 | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence | Acknowledgement of UEA as the data provider is required whenever and wherever these data are used | wao | stationary_platform | land | Time series of Temperature, Relative Humiditiy, Wind Speed, Wind Direction, and Pressure | timeSeries |  |  | 52.9506N 1.1219E | 10m | weybourne | https://github.com/ncasuk/AMF_CVs/releases/tag/0.5.0 | Data originally taken 09/2018. Processed and used as part of NCAS data project 10/2018 | Nothing at this time
uea-aws-2 | CF-1.6, NCAS-AMF-1.0 | UEA Automatic Weather Station unit 2 | Gill | MetPak | 12345 | Generic | v1.8 | G.Forster | g.forster@uea.nc.uk | https://orcid.org/0000-0003-1783-9307 | National Centre for Atmospheric Science (NCAS) |  | v4 | not known | not applicable | not applicable | 1 minute | 1 minute | v1.0 | 1 |  | WAO & NCAS Long Term Measurement Program. | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | https://orcid.org/0000-0003-1783-9307 | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence | Acknowledgement of UEA as the data provider is required whenever and wherever these data are used | wao | stationary_platform | land | Time series of Temperature, Relative Humiditiy, Wind Speed, Wind Direction, and Pressure | timeSeries |  |  | 52.9506N 1.1219E | 10m | weybourne | https://github.com/ncasuk/AMF_CVs/releases/tag/0.5.0 | Data originally taken 09/2018. Processed and used as part of NCAS data project 10/2018 | Nothing at this time
uea-caps-1 | CF-1.6, NCAS-AMF-1.0 | UEA Cavity Attenuated Phase Shift Spectroscopy unit 1 | Teledyne | T500U | 187 | Generic | N\A | G.Forster | g.forster@uea.nc.uk | https://orcid.org/0000-0003-1783-9307 | National Centre for Atmospheric Science (NCAS) |  | v4 | not known | not applicable | not applicable | 1 minute | 0 - spot measurement | v1.0 | 1 |  | WAO & NCAS Long Term Measurement Program. | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | https://orcid.org/0000-0003-1783-9307 | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence | Acknowledgement of UEA as the data provider is required whenever and wherever these data are used | wao | stationary_platform | land | Time series of NO2 concentrations | timeSeries |  |  | 52.9506N 1.1219E | 10m | weybourne | https://github.com/ncasuk/AMF_CVs/releases/tag/0.5.0 | Data originally taken 08/2018. Processed and used as part of NCAS data project 10/2018 | Nothing at this time
uea-fidas200E-1 | CF-1.6, NCAS-AMF-1.0 | UEA PM Mass Concentration Counter unit 1 | Palas | Fidas 200E | 9342 | Generic | N\A | G.Forster | g.forster@uea.nc.uk | https://orcid.org/0000-0003-1783-9307 | National Centre for Atmospheric Science (NCAS) |  | v4 | not known | not applicable | not applicable | 1 minute | 1 minute | v1.0 | 1 |  | WAO & NCAS Long Term Measurement Program. | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | https://orcid.org/0000-0003-1783-9307 | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence | Acknowledgement of UEA as the data provider is required whenever and wherever these data are used | wao | stationary_platform | land | Time series of PM1, PM2.5, PM4, PM10, Total PM and Total Number | timeSeries |  |  | 52.9506N 1.1219E | 10m | weybourne | https://github.com/ncasuk/AMF_CVs/releases/tag/0.5.0 | Data originally taken 09/2018. Processed and used as part of NCAS data project 10/2018 | Nothing at this time
uea-radon-1 | CF-1.6, NCAS-AMF-1.0 | UEA Radon Monitor unit 1 | ANDTO | not known | 12345 | Generic | v1.8 | G.Forster | g.forster@uea.nc.uk | https://orcid.org/0000-0003-1783-9307 | National Centre for Atmospheric Science (NCAS) |  | v4 | not known | not applicable | not applicable | 1 minute | 0 - spot measurement | v1.0 | 1 |  | WAO & NCAS Long Term Measurement Program. | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | https://orcid.org/0000-0003-1783-9307 | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence | Acknowledgement of UEA as the data provider is required whenever and wherever these data are used | wao | stationary_platform | land | Time series of Ra concentration | timeSeries |  |  | 52.9506N 1.1219E | 10m | weybourne | https://github.com/ncasuk/AMF_CVs/releases/tag/0.5.0 | Data originally taken 09/2018. Processed and used as part of NCAS data project 10/2018 | Nothing at this time
uea-sodar-rass-1 | CF-1.6, NCAS-AMF-1.0 | UEA Sodar Rass unit 1 | METEK | PCS.2000 RASS | 12345 | Generic | v1.8 | G.Forster | g.forster@uea.nc.uk | https://orcid.org/0000-0003-1783-9307 | National Centre for Atmospheric Science (NCAS) |  | v4 | not known | not applicable | not applicable | 10 minutes | 10 minutes | v1.0 | 1 |  | WAO & NCAS Long Term Measurement Program. | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | g.forster@uea.ac.uk, andrew.uea@gmail.com, stbarningham@gmail.com | https://orcid.org/0000-0003-1783-9307 | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence | Acknowledgement of UEA as the data provider is required whenever and wherever these data are used | wao | stationary_platform | land | Time series profiles of winds and acoustic backscatter | timeSeriesProfile |  |  | 52.9506N 1.1219E | 10m | weybourne | https://github.com/ncasuk/AMF_CVs/releases/tag/0.5.0 | Data originally taken 09/2018. Processed and used as part of NCAS data project 10/2018 | Nothing at this time